VisitEngland - Fire Risk Assessment

| Address of Property Assessed: | Orchard Barn, Woodhayes, Luppitt, Honiton EX14 4TP |
| --- | --- |
| Person Undertaking the Assessment - Name: | Fiona Page-Turner |
| - Position: | Owner |
| Date of Assessment: | 17.09.26 |

Fire Risk Assessment

Step 1 - Identify Fire Hazards and Fire Risks

1.1 Sources of ignition

a) Electrical - wiring and appliances

All electrical wiring has been checked by a qualified contractor within last year 
  There are no trailing cables, overloaded sockets, adapters, extension leads, damage to cables, scorched, cracked or loose sockets/switches. 
  Fuseboard/circuit breakers are in good condition and labelled correctly 
  All appliances are in good condition with undamaged cables 
  All electrical appliances have been checked and labelled as such by a qualified electrician (Delves, Honiton) 
  All appliances have been labelled to show date of last test

b) Cooking - especially deep-fat frying

There are instructions for the safe use of cooker in file provided in the information for guests 
Extraction hoods and vents are regularly cleaned and free from grease

c) Smoking

There is a strict 'no smoking' policy in the property

d) Candles

No candles are kept in the barn and they should not be brought into the barn.

e) Heaters and boilers

The heating is from a ground source heat pump. All heaters are in good condition. There are no freestanding heaters

f) Open fires

There are no open fires

g) Others

There is a woodburning stove with a secure door. Paper and wood are provided. The woodburner stands on a piece of stone to catch any burning embers and avoid them making contact with the floor. There is a metal ash bucket provided.

1.2. Fuel present

Newspaper and basket of wood provided. Further wood is stored away from the property.

h) Elements of structure

The floors are made of non-combustible timber 
The walls are made of stone and also non-combustible 
There is no other combustible wall or ceiling lining material

i) Furniture and furnishings

The furniture and furnishings comply with furniture and furnishing regulations

j) Domestic waste

Domestic waste should be removed by guests from the property daily and is kept away from sources of ignition.

k) Other items - e.g. petrol for lawnmowers, cleaning materials etc

No highly flammable liquids or substances are kept on the premises

1.3. Activities that might cause a fire, including work processes/procedures etc.

A barbeque is provided at a safe distance from the house.

Step 2 - Identify Persons at Risk.

2.1 Number of guests

The property has three bedrooms and is suitable for 6 persons (adults and/or children) 
   
There are steps down to the property, which is also based over 3 floors with two sets of staircases so we do not anticipate that disabled persons will find it suitable to stay. There are bannisters alongside staircases to provide help for the less mobile.

2.2. Number of staff/employees

There are no employees under 18.

Step 3 - Evaluate the Risks.

3.1. Means of escape

a) Detail the type of property:

The property is a three-story converted barn. 
There are velux windows on the second and third floors.

b) Detail the number of exit doors and where they are:

There is one main exit door which is outward opening. It is always easy to open with an external key pad so never locked and kept clear and available for use.

3.2. The fire alarm and fire detection

c) Describe what fire alarm and fire detectors have been provided:

There is a smoke detector and a heat detector in the kitchen where the main risk of fire has been identified. There are smoke detectors in each bedroom. There is smoke detector on the landing of the third floor.

3.3. Fire fighting equipment

d) Detail what fire extinguishers/blankets are provided and where they are.

There is a fire blanket provided in the kitchen and a fire extinguisher.

3.4. Escape lighting

e) Detail areas covered by emergency lighting (if any):

Rechargable torches are provided on the ground floor and first floor and are plugged in showing a security light. There is security lighting outside the property which is activated by a motion sensor.

3.5. Evacuation procedure

f) Describe the evacuation procedures

Guests on the ground floor may use the external door or escape from the windows (window keys are kept near locks). Guests on the first floor can reach the external door by descending the stairs if possible. They do not have to pass through the kitchen to reach this door. If it is not possible to use the stairs, a bedroom door can be closed to await help. The windows to all bedrooms are reachable by ladder and the windows both open wide enough for an adult to get through.